## Page 1
Fire Door Asset Export
BarCode | Code | Building | Level | Location Type | Room Number | Description | Quantity | Condition | Last Survey Date | Door Width | Door Height | Fire Resistance | Glazing | Finish To Leaf | Finish To Frame | Material | No. Corrective Actions
F0000001 | F0000001 | Tudor House | First Floor | Assembly Room | F0000001 | Fire Door - Single Leaf - 60 | 1 | Grade C | 05/12/2023 | 600mm | 2000mm | One hour fire resisting | Non Glazed | Sheathed in High impact PVC Sheet | Decorative Melamine laminate | Timber | 0
F0000002 | F0000002 | Tudor House | First Floor | Archive Room | F0000002 | Fire Door - Single Leaf - 30S | 1 | Grade C | 05/12/2023 | 300mm | 600mm | Half hour fire resisting with smoke containment | Fully Glazed | Decorative Melamine laminate | Painted | Timber | 0
F0000003 | F0000003 | Tudor House | First Floor | Service Riser | F0000003 | Fire Door - Single Leaf - 30S | 1 | Grade D | 01/12/2023 | 600mm | 1200mm | Half hour fire resisting with smoke containment | Non Glazed | Decorative Melamine laminate | Stained | Timber | 1
F0000004 | F0000004 | Tudor House | First Floor | Archive Room | F0000004 | Fire Door - Single Leaf - 30S | 1 | Grade B | 28/11/2023 | 6mm | 3mm | Half hour fire resisting with smoke containment | Non Glazed | Painted | Decorative Melamine laminate | Timber | 0
F0000005 | F0000005 | Tudor House | First Floor | Service Riser | F0000005 | Fire Door - Single Leaf - 60 | 1 | Grade C | 27/11/2023 | 600mm | 1000mm | One hour fire resisting | Non Glazed | Painted | Painted | Metal | 0
F0000006 | F0000006 | Tudor House | First Floor | Common Room | F0000006 | Fire Door - Single Leaf - 30 | 1 | Grade B | 15/11/2023 | 626mm | 2040mm | Half hour fire resisting | Non Glazed | Stained | Stained | Timber | 2
F0000007 | F0000007 | Tudor House | First Floor | Service Riser | F0000007 | Fire Door - Single Leaf - 30S | 1 | Grade B | 14/11/2023 | 600mm | 1000mm | Half hour fire resisting with smoke containment | Fully Glazed | Painted | Sheathed in High impact PVC Sheet | Timber | 1
F0000008 | F0000008 | Tudor House | First Floor | Bathroom | F0000008 | Fire Door - One and a Half Leaf - 60 | 1 | Grade B | 05/11/2023 | 800mm | 2000mm | One hour fire resisting | Non Glazed | Painted | Decorative Melamine laminate | Timber | 0
F0000009 | F0000009 | Tudor House | First Floor | Board Room | F0000009 | Fire Door - Single Leaf - 30S | 1 | Grade C | 01/11/2023 | 6mm | 1mm | Half hour fire resisting with smoke containment | Fully Glazed | Painted | Stained | Timber | 1
F0000010 | F0000010 | Tudor House | First Floor | Data Room | F0000010 | Fire Door - Single Leaf - 30 | 1 | Grade B | 07/09/2023 | 1000mm | 600mm | Half hour fire resisting | Fully Glazed | Sheathed in High impact PVC Sheet | Painted | Timber | 1
F0000011 | F0000011 | Tudor House | Second Floor | Boiler House/Room | F0000011 | Fire Door - Single Leaf - 60 | 1 | Grade B | 29/08/2023 | 1080mm | 602mm | One hour fire resisting | One Vision Panel | Painted | Stained | Timber | 0
F0000012 | F0000012 | Tudor House | Second Floor | Alley way | F0000012 | Fire Door - Single Leaf - 60 | 1 | Grade B | 18/08/2023 | 615mm | 1817mm | One hour fire resisting | Non Glazed | Clear | Clear | Timber | 1
F0000013 | F0000013 | Tudor House | Second Floor | Battery Room | F0000013 | Fire Door - One and a Half Leaf - 60S | 1 | Grade B | 18/08/2023 | 640mm | 1200mm | One hour fire resisting with smoke containment | Two Vision Panels | Stained | Sheathed in High impact PVC Sheet | Timber | 0
F0000014 | F0000014 | Tudor House | Second Floor | Battery Room | F0000014 | Fire Door - Single Leaf - 60S | 1 | Grade C | 06/07/2023 | 5mm | 0mm | One hour fire resisting with smoke containment | Two Vision Panels | Painted | Sheathed in High impact PVC Sheet | Timber | 1
F0000015 | F0000015 | Tudor House | Second Floor | Alley way | F0000015 | Fire Door - Single Leaf - 60S | 1 | Grade A | 05/06/2023 | 0mm | 0mm | One hour fire resisting with smoke containment | Non Glazed | Sheathed in High impact PVC Sheet | Stained | Timber | 0
F0000016 | F0000016 | Tudor House | Second Floor | Assembly Room | F0000016 | Fire Door - Single Leaf - 60S | 1 | Grade B | 03/04/2023 | 1000mm | 3000mm | One hour fire resisting with smoke containment | Non Glazed | Decorative Melamine laminate | Painted | Timber | 1
F0000017 | F0000017 | Tudor House | Second Floor | Managers Office | F0000017 | Fire Door - Single Leaf - 60 | 1 | Grade A | 03/04/2023 | 1220mm | 1980mm | One hour fire resisting | Half Glazed | Clear | Painted | Timber | 0
F0000018 | F0000018 | Tudor House | Second Floor | Admin Store | F0000018 | Fire Door - Single Leaf - 60 | 1 | Grade A | 24/02/2023 | 1010mm | 2000mm | One hour fire resisting | One Vision Panel | Decorative Melamine laminate | Decorative Melamine laminate | Timber | 0
F0000019 | F0000019 | Tudor House | Second Floor | Company Office | F0000019 | Fire Door - Single Leaf - 60 | 1 | Grade C | 17/02/2023 | 1000mm | 2000mm | One hour fire resisting | Fully Glazed | Painted | Painted | Timber | 0
F0000020 | F0000020 | Tudor House | Second Floor | Workshop | F0000020 | Fire Door - Single Leaf - 60 | 1 | Grade B | 25/01/2023 | 1000mm | 100mm | One hour fire resisting | Fully Glazed | Painted | Stained | Timber | 1
F0000021 | F0000021 | Tudor House | Third Floor | Room | F0000021 | Fire Door - Single Leaf - 60 | 1 | Grade B | 18/01/2023 | 1000mm | 2000mm | One hour fire resisting | Fully Glazed | Painted | Stained | Timber | 1
F0000022 | F0000022 | Tudor House | Third Floor | Assembly Room | F0000022 | Fire Door - Single Leaf - 60 | 1 | Grade A | 16/01/2023 | 1000mm | 2000mm | One hour fire resisting | Non Glazed | Decorative Melamine laminate | Painted | Timber | 0
F0000023 | F0000023 | Tudor House | Third Floor | Common Room | F0000023 | Fire Door - Single Leaf - 60S | 1 | Grade A | 12/01/2023 | 2000mm | 2000mm | One hour fire resisting with smoke containment | Fully Glazed | Sheathed in High impact PVC Sheet | Decorative Melamine laminate | Timber | 1
F0000024 | F0000024 | Tudor House | Third Floor | ATM Room | F0000024 | Fire Door - Single Leaf - 60S | 1 | Grade A | 11/01/2023 | 22mm | 23mm | One hour fire resisting with smoke containment | One Vision Panel | Painted | Decorative Melamine laminate | Timber | 0
F0000025 | F0000025 | Tudor House | Third Floor | General Classroom | F0000025 | Fire Door - Single Leaf - 60 | 1 | Grade B | 11/01/2023 | 600mm | 1200mm | One hour fire resisting | Non Glazed | Decorative Melamine laminate | Sheathed in High impact PVC Sheet | Timber | 0
F0000026 | F0000026 | Tudor House | Third Floor | Classroom | F0000026 | Fire Door - Single Leaf - 30 | 1 | Grade D | 09/01/2023 | 1111mm | 2222mm | Half hour fire resisting | Fully Glazed | Painted | Sheathed in High impact PVC Sheet | Timber | 1
F0000027 | F0000027 | Tudor House | Third Floor | Battery Room | F0000027 | Fire Door - One and a Half Leaf - 60S | 1 | Grade A | 05/01/2023 | 66mm | 299mm | One hour fire resisting with smoke containment | Non Glazed | Stained | Decorative Melamine laminate | Timber | 0
F0000028 | F0000028 | Tudor House | Third Floor | ATM Room | F0000028 | Fire Door - Single Leaf - 60S | 1 | Grade C | 07/12/2022 | 300mm | 44mm | One hour fire resisting with smoke containment | Fully Glazed | Decorative Melamine laminate | Painted | Timber | 1
F0000029 | F0000029 | Tudor House | Third Floor | Hall | F0000029 | Fire Door - Single Leaf - 30S | 1 | Grade A | 02/12/2022 | 100mm | 2000mm | Half hour fire resisting with smoke containment | Fully Glazed | Painted | Stained | Timber | 1
F0000030 | F0000030 | Tudor House | Third Floor | Board Room | F0000030 | Fire Door - Single Leaf - 30S | 1 | Grade B | 02/12/2022 | 680mm | 1920mm | Half hour fire resisting with smoke containment | Fully Glazed | Painted | Stained | Timber | 0
Page 1 of 1